**Document 5 PRICE SCHEDULE FOR SOLAR SYSTEM ITEMS**

**Lot 1 Ref#: UA / MI / Health Project -MZR / 008 (Project: Provision of life-saving and integrated health care and nutrition services for crisis-affected people in Afghanistan)**

**Note:**

1. The Solar system should be delivered and installed at Baba Yadgar, Choghdak, Guzar Panjshir and Nawshad BHC, Mazar-e-Sharif, Balkh, Afghanistan.
2. Please mention your bid / quote on this form along with your sign and stamp on each page or in the same manner on your letter head.

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **S/No** | **Item Name** | **Specification** | **Unit Type** | **Qty** | **Unit Price (AFN)** | **Total Amount (AFN)** | **Remarks** |
|  | **Solar system** | | | | | |  |
| 1 | Inverter | High quality 5 kw | Pcs | 2 |  |  | **For Baba Yadgar BHC** |
| 2 | Battery | Solar system battery 200 Ah 12v | Pcs | 8 |  |  | **For Baba Yadgar BHC** |
| 3 | Solar panels | High quality Solar panel 300w | Pcs | 40 |  |  | **For Baba Yadgar BHC** |
| 4 | Solar Stand | Solar Panel Stand steel profile 80\*80mm and profile 40\*80mm, 1.5mm thick (Panels support structure) | Set | 1 |  |  | **For Baba Yadgar BHC** |
| 5 | Battery Stand | Solar Panel Stand steel profile 40\*40mm, 1.5mm thick (Battery support structure) | Set | 1 |  |  | **For Baba Yadgar BHC** |
| 6 | Cable | cable 4\*6mm from panels to inverter | m | 100 |  |  | **For Baba Yadgar BHC** |
| 7 | Cable | cable 1\*25mm for battery | m | 20 |  |  | **For Baba Yadgar BHC** |
| 8 | Fuse box | high quality large size | Pcs | 1 |  |  | **For Baba Yadgar BHC** |
| 9 | Changer | electricity changer 100amp | Pcs | 1 |  |  | **For Baba Yadgar BHC** |
| 10 | Fuse | High quality fuse 63amp | Pcs | 10 |  |  | **For Baba Yadgar BHC** |
| 11 | Inverter | Repair of three inverter | Pcs | 4 |  |  | **For Choghdak BHC** |
| 12 | Battery | Solar system battery 200 Ah 12v | Pcs | 8 |  |  | **For Panjshir BHC** |
| 13 | Cable | cable 4\*6mm from panels to inverter | m | 100 |  |  | **For Nawshad and Panjshir BHC** |
| 14 | Inverter | High quality 5 kw | Pcs | 2 |  |  | **For Panjshir BHC** |
|  |  | |  | **Total** |  | | |

**Name of Bidder** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ **Business Name** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Signature & Stamp of Bidder\_\_\_\_\_**\_\_\_\_\_\_\_\_\_\_\_\_

**Date** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**Contact Number of Bidder\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Office Address of Bidder\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**